Don’t dump it

…unless you know it can go down the drain!

Neutral pH ONLY (measured 5.5 – 12)

Room temperature liquids ONLY (no liquid nitrogen)

No Acetone

No Hazardous Waste

Don’t assume

ALL treated, hazardous waste discharged to the sewer MUST be logged.

Read the Laboratory Safety Manual, Section 3 page 11 for thorough description